{"text_format":"1","workbook":"xlsx","n_sheets":8,"sheets":["Directions","SW Hazardous","SW specific pollutant","Freshwater hazardous, priority ","Freshwater Specfic Pollutants","Sheet1","zRef_Drop_Downs","MonRoundInfo"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":1,"defined_names":12,"comments":4,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Directions","index":0,"n_rows":21,"n_cols":3,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[]
[null,null,"These Guidelines have been transposed from the original at: "]
[null,null,"https://www.gov.uk/guidance/surface-water-pollution-risk-assessment-for-your-environmental-permit#screening-tests-freshwaters"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Disclaimer: All care has been exercised in the compilation of these guidelines for quick import to ESDAT, \nhowever no liability is taken for any error.  It is the responsibility of the user to review the contained data \nand ensure their data is compliant with the relevant guidelines, and that this compilation meets their requirements.  "]

{"sheet":"SW Hazardous","index":1,"n_rows":172,"n_cols":28,"rows_kept":172,"cut":false,"hidden":false,"merged":[]}
["Project:","UK_Ref",null,"Table:","[zRef_Environmental_Standards]",null,"Style:","EnviroStandards","NoLocs"]
["Path:",null,null,"Parent Tables:","zRef_Matrix_Types,zRef_Chemistry_Lookup"]
[]
["ChemCode","ChemName","MatrixType","ActionLevelSource","ActionLevel","ActionLevel_Min","Units","Comments","Leached","ActionLevel_Prefix","ActionLevel_Suffix","Conditional_Matrix_Type","Conditional_Depth_From","Conditional_Depth_To","Conditional_ChemCode1","Conditional_ChemCode1_Units","Conditional_ChemCode1_Min_Value_Prefix","Conditional_ChemCode1_Value_Min","Conditional_ChemCode1_Max_Value_Prefix","Conditional_ChemCode1_Value_Max","Conditional_ChemCode2","Conditional_ChemCode2_Units","Conditional_ChemCode2_Min_Value_Prefix","Conditional_ChemCode2_Value_Min","Conditional_ChemCode2_Max_Value_Prefix","Conditional_ChemCode2_Value_Max","Applies_To_Total_Result","Applies_To_Filtered_Result"]
["74070-46-5","Aclonifen","water","ECW Priority HazSub EQS - LT",1.2E-2,null,"ug/l"]
["15972-60-8","Alachlor","water","ECW Priority HazSub EQS - LT",0.3,null,"ug/l"]
["120-12-7","Anthracene","water","ECW Priority HazSub EQS - LT",0.1,null,"ug/l"]
["1912-24-9","Atrazine","water","ECW Priority HazSub EQS - LT",0.6,null,"ug/l"]
["71-43-2","Benzene","water","ECW Priority HazSub EQS - LT",8,null,"ug/l"]
["50-32-8","Benzo(a)-pyrene (BaP)","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["205-99-2","Benzo(b)-fluor-anthene","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["207-08-9","Benzo(k)-fluor-anthene","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["191-24-2","Benzo(g,h,i)-perylene","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["42576-02-3","Bifenox","water","ECW Priority HazSub EQS - LT",1.1999999999999999E-3,null,"ug/l","(total PBDE or congener numbers 28, 47, 99, 100, 153 and 154)"]
["PBDEs","Brominated diphenylether","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable  (total PBDE or congener numbers 28, 47, 99, 100, 153 and 154)"]
["Cadmium_Compounds","Cadmium and its compounds (dissolved)","water","ECW Priority HazSub EQS - LT",0.2,null,"ug/l"]
["56-23-5","Carbon tetrachloride","water","ECW Priority HazSub EQS - LT",12,null,"ug/l"]
["470-90-6","Chlorfenvinphos","water","ECW Priority HazSub EQS - LT",0.1,null,"ug/l"]
["85535-84-8","C10-13 chloroalkanes","water","ECW Priority HazSub EQS - LT",0.4,null,"ug/l"]
["2921-88-2","Chlorpyrifos (chlorpyrifos-ethyl)","water","ECW Priority HazSub EQS - LT",0.03,null,"ug/l"]
["28159-98-0","Cybutryne ","water","ECW Priority HazSub EQS - LT",2.5000000000000001E-3,null,"ug/l"]
["CyclodienePest","Cyclodiene pesticides ","water","ECW Priority HazSub EQS - LT",5.0000000000000001E-3,null,"ug/l","(total aldrin, dieldrin, endrin and isodrin)"]
["52315-07-8","Cypermethrin","water","ECW Priority HazSub EQS - LT",8000000,null,"ug/l"]
["50-29-3","DDT (total)","water","ECW Priority HazSub EQS - LT",2.5000000000000001E-2,null,"ug/l"]
["50-29-3","Para-para-DDT","water","ECW Priority HazSub EQS - LT",0.01,null,"ug/l"]
["107-06-2","1,2-dichloro-ethane","water","ECW Priority HazSub EQS - LT",10,null,"ug/l"]
["75-09-2","Dichloro-methane","water","ECW Priority HazSub EQS - LT",20,null,"ug/l"]
["62-73-7","Dichlorvos","water","ECW Priority HazSub EQS - LT",600000,null,"ug/l"]
["115-32-2","Dicofol","water","ECW Priority HazSub EQS - LT",320000,null,"ug/l"]
["117-81-7","Di(2-ethylhexyl)-phthalate (DEHP)","water","ECW Priority HazSub EQS - LT",1.3,null,"ug/l"]
["Dioxins","Dioxins and dioxin-like compounds ","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["330-54-1","Diuron","water","ECW Priority HazSub EQS - LT",0.2,null,"ug/l"]
["115-29-7","Endosulphan","water","ECW Priority HazSub EQS - LT",5.0000000000000001E-4,null,"ug/l"]
["206-44-0","Fluoranthene","water","ECW Priority HazSub EQS - LT",6.3E-3,null,"ug/l"]
["76-44-8 & 1024-57-3","Heptachlor & heptachlor epoxide","water","ECW Priority HazSub EQS - LT",1E-8,null,"ug/l"]
["3194-55-6","Hexabromocyclo-dodecane (HBCDD)","water","ECW Priority HazSub EQS - LT",8.0000000000000004E-4,null,"ug/l"]
["118-74-1","Hexachloro-benzene","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["87-68-3","Hexachloro-butadiene","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["27154-44-5","Hexachloro-cyclohexane","water","ECW Priority HazSub EQS - LT",2E-3,null,"ug/l"]
["193-39-5","Indeno(1,2,3-cd)-pyrene","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["34123-59-6","Isoproturon","water","ECW Priority HazSub EQS - LT",0.3,null,"ug/l"]
["Lead_Compounds","Lead and its compounds (dissolved)","water","ECW Priority HazSub EQS - LT",1.3,null,"ug/l"]
["Mercury_compounds","Mercury and its compounds (dissolved)","water","ECW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["91-20-3","Naphthalene","water","ECW Priority HazSub EQS - LT",2,null,"ug/l"]
["Nickel_compounds","Nickel and its compounds (dissolved)","water","ECW Priority HazSub EQS - LT",8.6,null,"ug/l"]
["104-40-5","Nonylphenol (4-nonylphenol)","water","ECW Priority HazSub EQS - LT",0.3,null,"ug/l"]
["27193-28-8","Octylphenol","water","ECW Priority HazSub EQS - LT",0.01,null,"ug/l"]
["608-93-5","Pentachloro-benzene","water","ECW Priority HazSub EQS - LT",6.9999999999999999E-4,null,"ug/l"]
["87-86-5","Pentachloro-phenol","water","ECW Priority HazSub EQS - LT",0.4,null,"ug/l"]
["1763-23-1","PFOS","water","ECW Priority HazSub EQS - LT",1.2999999999999999E-4,null,"ug/l"]
["TOTALPAH","Polyaromatic hydrocarbons (PAH)1","water","ECW Priority HazSub EQS - LT",1.7000000000000001E-4,null,"ug/l"]
["124495-18-7","Quinoxyfen","water","ECW Priority HazSub EQS - LT",1.4999999999999999E-2,null,"ug/l"]
["122-34-9","Simazine","water","ECW Priority HazSub EQS - LT",1,null,"ug/l"]
["886-50-0","Terbutryn","water","ECW Priority HazSub EQS - LT",6.4999999999999997E-3,null,"ug/l"]
["127-18-4","Tetrachloro-ethylene","water","ECW Priority HazSub EQS - LT",10,null,"ug/l"]
["TributyltinCompounds","Tributyltin compounds (tributyltin-cation)","water","ECW Priority HazSub EQS - LT",2.0000000000000001E-4,null,"ug/l"]
["12002-48-1","Trichloro-benzenes","water","ECW Priority HazSub EQS - LT",0.4,null,"ug/l"]
["79-01-6","Trichloro-ethylene","water","ECW Priority HazSub EQS - LT",10,null,"ug/l"]
["67-66-3","Tricholoro-methane (chloroform)","water","ECW Priority HazSub EQS - LT",2.5,null,"ug/l"]
["1582-09-8","Trifluralin","water","ECW Priority HazSub EQS - LT",0.03,null,"ug/l"]
["74070-46-5","Aclonifen","water","ECW Priority HazSub EQS - ST",1.2E-2,null,"ug/l"]
["15972-60-8","Alachlor","water","ECW Priority HazSub EQS - ST",0.7,null,"ug/l"]
["120-12-7","Anthracene","water","ECW Priority HazSub EQS - ST",0.1,null,"ug/l"]
["1912-24-9","Atrazine","water","ECW Priority HazSub EQS - ST",2,null,"ug/l"]
["71-43-2","Benzene","water","ECW Priority HazSub EQS - ST",50,null,"ug/l"]
["50-32-8","Benzo(a)-pyrene (BaP)","water","ECW Priority HazSub EQS - ST",2.7E-2,null,"ug/l"]
["205-99-2","Benzo(b)-fluor-anthene ","water","ECW Priority HazSub EQS - ST",1.7000000000000001E-2,null,"ug/l"]
["207-08-9","Benzo(k)-fluor-anthene","water","ECW Priority HazSub EQS - ST",1.7000000000000001E-2,null,"ug/l"]
["191-24-2","Benzo(g,h,i)-perylene","water","ECW Priority HazSub EQS - ST",8.1999999999999998E-4,null,"ug/l"]
["42576-02-3","Bifenox","water","ECW Priority HazSub EQS - ST",4.0000000000000001E-3,null,"ug/l"]
["PBDEs","Brominated diphenylether","water","ECW Priority HazSub EQS - ST",1.4E-2,null,"ug/l","(total PBDE or congener numbers 28, 47, 99, 100, 153 and 154)"]
["Cadmium_Compounds","Cadmium and its compounds (dissolved)","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["56-23-5","Carbon tetrachloride","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["470-90-6","Chlorfenvinphos","water","ECW Priority HazSub EQS - ST",0.3,null,"ug/l"]
["85535-84-8","C10-13 chloroalkanes","water","ECW Priority HazSub EQS - ST",1.4,null,"ug/l"]
["2921-88-2","Chlorpyrifos (chlorpyrifos-ethyl)","water","ECW Priority HazSub EQS - ST",0.1,null,"ug/l"]
["28159-98-0","Cybutryne ","water","ECW Priority HazSub EQS - ST",1.6E-2,null,"ug/l"]
["CyclodienePest","Cyclodiene pesticides ","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable (total aldrin, dieldrin, endrin and isodrin)"]
["52315-07-8","Cypermethrin","water","ECW Priority HazSub EQS - ST",600000,null,"ug/l"]
["50-29-3","DDT (total)","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["50-29-3","Para-para-DDT","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["107-06-2","1,2-dichloro-ethane","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["75-09-2","Dichloro-methane","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["62-73-7","Dichlorvos","water","ECW Priority HazSub EQS - ST",700000,null,"ug/l"]
["115-32-2","Dicofol","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["117-81-7","Di(2-ethylhexyl)-phthalate (DEHP)","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["Dioxins","Dioxins and dioxin-like compounds ","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["330-54-1","Diuron","water","ECW Priority HazSub EQS - ST",1.8,null,"ug/l"]
["115-29-7","Endosulphan","water","ECW Priority HazSub EQS - ST",4.0000000000000001E-3,null,"ug/l"]
["206-44-0","Fluoranthene","water","ECW Priority HazSub EQS - ST",0.12,null,"ug/l"]
["76-44-8 & 1024-57-3","Heptachlor & heptachlor epoxide","water","ECW Priority HazSub EQS - ST",3.0000000000000001E-5,null,"ug/l"]
["3194-55-6","Hexabromocyclo-dodecane (HBCDD)","water","ECW Priority HazSub EQS - ST",0.05,null,"ug/l"]
["118-74-1","Hexachloro-benzene","water","ECW Priority HazSub EQS - ST",0.05,null,"ug/l"]
["87-68-3","Hexachloro-butadiene","water","ECW Priority HazSub EQS - ST",0.6,null,"ug/l"]
["27154-44-5","Hexachloro-cyclohexane","water","ECW Priority HazSub EQS - ST",0.02,null,"ug/l"]
["193-39-5","Indeno(1,2,3-cd)-pyrene","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["34123-59-6","Isoproturon","water","ECW Priority HazSub EQS - ST",1,null,"ug/l"]
["Lead_Compounds","Lead and its compounds (dissolved)","water","ECW Priority HazSub EQS - ST",14,null,"ug/l"]
["Mercury_compounds","Mercury and its compounds (dissolved)","water","ECW Priority HazSub EQS - ST",7.0000000000000007E-2,null,"ug/l"]
["91-20-3","Naphthalene","water","ECW Priority HazSub EQS - ST",130,null,"ug/l"]
["Nickel_compounds","Nickel and its compounds (dissolved)","water","ECW Priority HazSub EQS - ST",34,null,"ug/l"]
["104-40-5","Nonylphenol (4-nonylphenol)","water","ECW Priority HazSub EQS - ST",2,null,"ug/l"]
["27193-28-8","Octylphenol","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["608-93-5","Pentachloro-benzene","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["87-86-5","Pentachloro-phenol","water","ECW Priority HazSub EQS - ST",1,null,"ug/l"]
["1763-23-1","PFOS","water","ECW Priority HazSub EQS - ST",7.2,null,"ug/l"]
["TOTALPAH","Polyaromatic hydrocarbons (PAH)1","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["124495-18-7","Quinoxyfen","water","ECW Priority HazSub EQS - ST",0.54,null,"ug/l"]
["122-34-9","Simazine","water","ECW Priority HazSub EQS - ST",4,null,"ug/l"]
["886-50-0","Terbutryn","water","ECW Priority HazSub EQS - ST",3.4000000000000002E-2,null,"ug/l"]
["127-18-4","Tetrachloro-ethylene","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["TributyltinCompounds","Tributyltin compounds (tributyltin-cation)","water","ECW Priority HazSub EQS - ST",1.5E-3,null,"ug/l"]
["12002-48-1","Trichloro-benzenes","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["79-01-6","Trichloro-ethylene","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["67-66-3","Tricholoro-methane (chloroform)","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["1582-09-8","Trifluralin","water","ECW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["74070-46-5","Aclonifen","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["15972-60-8","Alachlor","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["120-12-7","Anthracene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["1912-24-9","Atrazine","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["71-43-2","Benzene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["50-32-8","Benzo(a)-pyrene (BaP)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["205-99-2","Benzo(b)-fluor-anthene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["207-08-9","Benzo(k)-fluor-anthene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["191-24-2","Benzo(g,h,i)-perylene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["42576-02-3","Bifenox","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["PBDEs","Brominated diphenylether ","water","ECW Priority HazSub EQS - AP",8.5000000000000006E-3,null,"ug/l","in fish (total PBDE or congener numbers 28, 47, 99, 100, 153 and 154)"]
["Cadmium_Compounds","Cadmium and its compounds (dissolved)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["56-23-5","Carbon tetrachloride","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["470-90-6","Chlorfenvinphos","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["85535-84-8","C10-13 chloroalkanes","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["2921-88-2","Chlorpyrifos (chlorpyrifos-ethyl)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["28159-98-0","Cybutryne ","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["CyclodienePest","Cyclodiene pesticides","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable (total aldrin, dieldrin, endrin and isodrin)"]
["52315-07-8","Cypermethrin","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["50-29-3","DDT (total)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["50-29-3","Para-para-DDT","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["107-06-2","1,2-dichloro-ethane","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["75-09-2","Dichloro-methane","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["62-73-7","Dichlorvos","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["115-32-2","Dicofol","water","ECW Priority HazSub EQS - AP",33,null,"ug/l","µg/kg in fish"]
["117-81-7","Di(2-ethylhexyl)-phthalate (DEHP)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["Dioxins","Dioxins and dioxin-like compounds ","water","ECW Priority HazSub EQS - AP",6.4999999999999997E-3,null,"ug/l","in fish, crustaceans and molluscs"]
["330-54-1","Diuron","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["115-29-7","Endosulphan","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["206-44-0","Fluoranthene","water","ECW Priority HazSub EQS - AP",30,null,"ug/l","in crustaceans or molluscs"]
["76-44-8 & 1024-57-3","Heptachlor & heptachlor epoxide","water","ECW Priority HazSub EQS - AP",6.7000000000000002E-3,null,"ug/l","in fish"]
["3194-55-6","Hexabromocyclo-dodecane (HBCDD)","water","ECW Priority HazSub EQS - AP",167,null,"ug/l","in fish"]
["118-74-1","Hexachloro-benzene","water","ECW Priority HazSub EQS - AP",10,null,"ug/l","in fish"]
["87-68-3","Hexachloro-butadiene","water","ECW Priority HazSub EQS - AP",55,null,"ug/l","in fish"]
["27154-44-5","Hexachloro-cyclohexane","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["193-39-5","Indeno(1,2,3-cd)-pyrene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["34123-59-6","Isoproturon","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["Lead_Compounds","Lead and its compounds (dissolved)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["Mercury_compounds","Mercury and its compounds (dissolved)","water","ECW Priority HazSub EQS - AP",20,null,"ug/l","in fish"]
["91-20-3","Naphthalene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["Nickel_compounds","Nickel and its compounds (dissolved)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["104-40-5","Nonylphenol (4-nonylphenol)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["27193-28-8","Octylphenol","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["608-93-5","Pentachloro-benzene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["87-86-5","Pentachloro-phenol","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["1763-23-1","PFOS","water","ECW Priority HazSub EQS - AP",9.1,null,"ug/l","in fish"]
["TOTALPAH","Polyaromatic hydrocarbons (PAH)1","water","ECW Priority HazSub EQS - AP",5,null,"ug/l","in crustaceans or molluscs"]
["124495-18-7","Quinoxyfen","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["122-34-9","Simazine","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["886-50-0","Terbutryn","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["127-18-4","Tetrachloro-ethylene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["TributyltinCompounds","Tributyltin compounds (tributyltin-cation)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["12002-48-1","Trichloro-benzenes","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["79-01-6","Trichloro-ethylene","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["67-66-3","Tricholoro-methane (chloroform)","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["1582-09-8","Trifluralin","water","ECW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]

{"sheet":"SW specific pollutant","index":2,"n_rows":200,"n_cols":28,"rows_kept":200,"cut":false,"hidden":false,"merged":[]}
["Project:","UK_Ref",null,"Table:","[zRef_Environmental_Standards]",null,"Style:","EnviroStandards","NoLocs"]
["Path:",null,null,"Parent Tables:","zRef_Matrix_Types,zRef_Chemistry_Lookup"]
[]
["ChemCode","ChemName","MatrixType","ActionLevelSource","ActionLevel","ActionLevel_Min","Units","Comments","Leached","ActionLevel_Prefix","ActionLevel_Suffix","Conditional_Matrix_Type","Conditional_Depth_From","Conditional_Depth_To","Conditional_ChemCode1","Conditional_ChemCode1_Units","Conditional_ChemCode1_Min_Value_Prefix","Conditional_ChemCode1_Value_Min","Conditional_ChemCode1_Max_Value_Prefix","Conditional_ChemCode1_Value_Max","Conditional_ChemCode2","Conditional_ChemCode2_Units","Conditional_ChemCode2_Min_Value_Prefix","Conditional_ChemCode2_Value_Min","Conditional_ChemCode2_Max_Value_Prefix","Conditional_ChemCode2_Value_Max","Applies_To_Total_Result","Applies_To_Filtered_Result"]
["71751-41-2","Abamectin","water","ECW specific pollutants and operational EQS - LT",3.0000000000000001E-3,null,"ug/l"]
["UnionizedAmmonia","Ammonia - un-ionised","water","ECW specific pollutants and operational EQS - LT",21,null,"ug/l"]
["7440-38-2","Arsenic","water","ECW specific pollutants and operational EQS - LT",25,null,"ug/l"]
["86-50-0","Azinphos methyl - dissolved","water","ECW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["25057-89-0","Bentazone","water","ECW specific pollutants and operational EQS - LT",500,null,"ug/l"]
["85-68-7","Benzyl butyl phthalate","water","ECW specific pollutants and operational EQS - LT",0.75,null,"ug/l"]
["92-52-4","Biphenyl","water","ECW specific pollutants and operational EQS - LT",25,null,"ug/l"]
["7440-42-8","Boron","water","ECW specific pollutants and operational EQS - LT",7000,null,"ug/l"]
["7726-95-6","Bromine -total residual oxidant","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["1689-84-5","Bromoxynil","water","ECW specific pollutants and operational EQS - LT",100,null,"ug/l"]
["10605-21-7","Carbendazim","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["16887-00-6","Chloride","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["TotalChlorine","Chlorine","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["59-50-7","4-chloro-3-methylphenol","water","ECW specific pollutants and operational EQS - LT",40,null,"ug/l"]
["Chloronitrotoluenes","Chloronitro toluenes","water","ECW specific pollutants and operational EQS - LT",10,null,"ug/l"]
["95-57-8","2-chlorophenol","water","ECW specific pollutants and operational EQS - LT",50,null,"ug/l"]
["108-43-0 & 106-48-9","3-chlorophenol 4-chlorophenol","water","ECW specific pollutants and operational EQS - LT",50,null,"ug/l","total or individual monochlorophenols"]
["108-43-0","3-chlorophenol","water","ECW specific pollutants and operational EQS - LT",50,null,"ug/l","total or individual monochlorophenols"]
["106-48-9","4-chlorophenol","water","ECW specific pollutants and operational EQS - LT",50,null,"ug/l","total or individual monochlorophenols"]
["1897-45-6","Chlorothalonil","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["15545-48-9","Chlorotoluron","water","ECW specific pollutants and operational EQS - LT",2,null,"ug/l"]
["101-21-3","Chlorpropham","water","ECW specific pollutants and operational EQS - LT",10,null,"ug/l"]
["16065-83-1","Chromium (III) - dissolved","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["18540-29-9","Chromium (VI) - dissolved","water","ECW specific pollutants and operational EQS - LT",0.6,null,"ug/l"]
["7440-48-4","Cobalt - dissolved","water","ECW specific pollutants and operational EQS - LT",3,null,"ug/l"]
["7440-50-8","Copper - dissolved","water","ECW specific pollutants and operational EQS - LT",3.76,null,"ug/l",null,null,null,null,null,null,null,"DOC","mg/L",null,null,"<",1]
["7440-50-8","Copper - dissolved","water","ECW specific pollutants and operational EQS - LT",3.76,null,"ug/l","3.76 + (2.677 x ((DOC/2) –0.5)) μg/l ",null,">",null,null,null,null,"DOC","mg/L",">=",1]
["56-72-4","Coumaphos","water","ECW specific pollutants and operational EQS - LT",0.03,null,"ug/l"]
["57-12-5","Cyanide","water","ECW specific pollutants and operational EQS - LT",1,null,"ug/l"]
["68359-37-5","Cyfluthrin","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["52315-07-8","Cypermethrin","water","ECW specific pollutants and operational EQS - LT",1E-4,null,"ug/l"]
["126-75-0","Demetons","water","ECW specific pollutants and operational EQS - LT",0.5,null,"ug/l"]
["333-41-5","Diazinon (sheep dip)","water","ECW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["84-74-2","Dibutyl phthalate","water","ECW specific pollutants and operational EQS - LT",8,null,"ug/l"]
["95-76-1","3,4-dichloroaniline","water","ECW specific pollutants and operational EQS - LT",0.2,null,"ug/l"]
["25321-22-6","Dichlorobenzene - total dichlorobenzene isomers","water","ECW specific pollutants and operational EQS - LT",20,null,"ug/l"]
["120-83-2","2,4-dichlorophenol","water","ECW specific pollutants and operational EQS - LT",0.42,null,"ug/l"]
["94-75-7","2,4-dichlorophenoxyacetic acid (2,4-D)","water","ECW specific pollutants and operational EQS - LT",0.3,null,"ug/l"]
["62-73-7","Dichlorvos","water","ECW specific pollutants and operational EQS - LT",0.04,null,"ug/l"]
["84-66-2","Diethyl phthalate","water","ECW specific pollutants and operational EQS - LT",200,null,"ug/l"]
["35367-38-5","Diflubenzuron","water","ECW specific pollutants and operational EQS - LT",5.0000000000000001E-3,null,"ug/l"]
["60-51-5","Dimethoate","water","ECW specific pollutants and operational EQS - LT",0.48,null,"ug/l"]
["131-11-3","Dimethyl phthalate","water","ECW specific pollutants and operational EQS - LT",800,null,"ug/l"]
["117-84-0","Dioctyl phthalate","water","ECW specific pollutants and operational EQS - LT",20,null,"ug/l"]
["117704-25-3","Doramectin","water","ECW specific pollutants and operational EQS - LT",1E-3,null,"ug/l"]
["60-00-4","EDTA","water","ECW specific pollutants and operational EQS - LT",400,null,"ug/l"]
["299-84-3","Fenchlorphos","water","ECW specific pollutants and operational EQS - LT",0.03,null,"ug/l"]
["122-14-5","Fenitrothion","water","ECW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["370-50-3","Flucofuron","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["16984-48-8","Fluoride - dissolved","water","ECW specific pollutants and operational EQS - LT",5000,null,"ug/l"]
["50-00-0","Formaldehyde","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["1071-83-6","Glyphosate","water","ECW specific pollutants and operational EQS - LT",196,null,"ug/l"]
["7783-06-4","Hydrogen sulphide","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["1689-83-4","Ioxynil","water","ECW specific pollutants and operational EQS - LT",10,null,"ug/l"]
["7439-89-6","Iron - dissolved","water","ECW specific pollutants and operational EQS - LT",1000,null,"ug/l"]
["70288-86-7","Ivermectin","water","ECW specific pollutants and operational EQS - LT",1E-3,null,"ug/l"]
["330-55-2","Linuron","water","ECW specific pollutants and operational EQS - LT",0.5,null,"ug/l"]
["129-73-7","Malachite green","water","ECW specific pollutants and operational EQS - LT",0.5,null,"ug/l"]
["121-75-5","Malathion","water","ECW specific pollutants and operational EQS - LT",0.02,null,"ug/l"]
["8018-01-7","Mancozeb","water","ECW specific pollutants and operational EQS - LT",2,null,"ug/l"]
["12427-38-2","Maneb","water","ECW specific pollutants and operational EQS - LT",3,null,"ug/l"]
["7439-96-5","Manganese","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["94-74-6","MCPA","water","ECW specific pollutants and operational EQS - LT",80,null,"ug/l"]
["93-65-2","Mecoprop","water","ECW specific pollutants and operational EQS - LT",18,null,"ug/l"]
["2032-65-7","Methiocarb","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["7786-34-7","Mevinphos","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["139-13-9","Nitrilotriacetic acid (NTA)","water","ECW specific pollutants and operational EQS - LT",3000,null,"ug/l"]
["1113-02-6","Omethoate","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["PCSD","PCSDs","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["40487-42-1","Pendimethalin","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["52645-53-1","Permethrin","water","ECW specific pollutants and operational EQS - LT",2.0000000000000001E-4,null,"ug/l"]
["pH_Lab","pH","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["108-95-2","Phenol","water","ECW specific pollutants and operational EQS - LT",7.7,null,"ug/l"]
["23103-98-2","Pirimicarb","water","ECW specific pollutants and operational EQS - LT",1,null,"ug/l"]
["29232-93-7","Pirimiphos-methyl","water","ECW specific pollutants and operational EQS - LT",1.4999999999999999E-2,null,"ug/l"]
["67747-09-5","Prochloraz","water","ECW specific pollutants and operational EQS - LT",4,null,"ug/l"]
["31218-83-4","Propetamphos","water","ECW specific pollutants and operational EQS - LT",0.03,null,"ug/l"]
["23950-58-5","Propyzamide","water","ECW specific pollutants and operational EQS - LT",100,null,"ug/l"]
["7440-22-4","Silver - dissolved","water","ECW specific pollutants and operational EQS - LT",0.5,null,"ug/l"]
["24019-05-4","Sulcofuron","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["14808-79-8","Sulphate","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["100-42-5","Styrene","water","ECW specific pollutants and operational EQS - LT",50,null,"ug/l"]
["117-18-0","Tecnazene - total","water","ECW specific pollutants and operational EQS - LT",1,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["148-79-8","Thiabendazole","water","ECW specific pollutants and operational EQS - LT",5,null,"ug/l"]
["7440-31-5","Tin (inorganic) - dissolved","water","ECW specific pollutants and operational EQS - LT",10,null,"ug/l"]
["108-88-3","Toluene","water","ECW specific pollutants and operational EQS - LT",74,null,"ug/l"]
["TotalAnions","Total anions","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["2303-17-5","Triallate","water","ECW specific pollutants and operational EQS - LT",0.25,null,"ug/l"]
["24017-47-8","Triazaphos","water","ECW specific pollutants and operational EQS - LT",5.0000000000000001E-3,null,"ug/l"]
["126-73-8","Tributyl phosphate","water","ECW specific pollutants and operational EQS - LT",50,null,"ug/l"]
["71-55-6","1,1,1-trichloroethane","water","ECW specific pollutants and operational EQS - LT",100,null,"ug/l"]
["3380-34-5","Triclosan","water","ECW specific pollutants and operational EQS - LT",0.1,null,"ug/l"]
["668-34-8","Triphenyltin and its derivatives","water","ECW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["79-00-5","1,1,2-trichloroethane","water","ECW specific pollutants and operational EQS - LT",300,null,"ug/l"]
["7440-62-2","Vanadium","water","ECW specific pollutants and operational EQS - LT",100,null,"ug/l"]
["1330-20-7","Xylene","water","ECW specific pollutants and operational EQS - LT",30,null,"ug/l"]
["7440-66-6","Zinc","water","ECW specific pollutants and operational EQS - LT",6.8,null,"ug/l","dissolved plus ambient background concentration. For saltwater, an Ambient Background Concentration of 1.1 µg/l is recommended."]
["71751-41-2","Abamectin","water","ECW specific pollutants and operational EQS - ST",0.01,null,"ug/l"]
["UnionizedAmmonia","Ammonia - un-ionised","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-38-2","Arsenic","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["86-50-0","Azinphos methyl - dissolved","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["25057-89-0","Bentazone","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["85-68-7","Benzyl butyl phthalate","water","ECW specific pollutants and operational EQS - ST",10,null,"ug/l","95th percentile"]
["92-52-4","Biphenyl","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-42-8","Boron","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7726-95-6","Bromine -total residual oxidant","water","ECW specific pollutants and operational EQS - ST",10,null,"ug/l"]
["1689-84-5","Bromoxynil","water","ECW specific pollutants and operational EQS - ST",1000,null,"ug/l"]
["10605-21-7","Carbendazim","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["16887-00-6","Chloride","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["TotalChlorine","Chlorine","water","ECW specific pollutants and operational EQS - ST",10,null,"ug/l","95th percentile concentration of total residual oxidant"]
["59-50-7","4-chloro-3-methylphenol","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["Chloronitrotoluenes","Chloronitro toluenes","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["95-57-8","2-chlorophenol","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["108-43-0 & 106-48-9","3-chlorophenol 4-chlorophenol","water","ECW specific pollutants and operational EQS - ST",250,null,"ug/l","total or individual monochlorophenols"]
["108-43-0","3-chlorophenol","water","ECW specific pollutants and operational EQS - ST",250,null,"ug/l","total or individual monochlorophenols"]
["106-48-9","4-chlorophenol","water","ECW specific pollutants and operational EQS - ST",250,null,"ug/l","total or individual monochlorophenols"]
["1897-45-6","Chlorothalonil","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["15545-48-9","Chlorotoluron","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["101-21-3","Chlorpropham","water","ECW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["16065-83-1","Chromium (III) - dissolved","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["18540-29-9","Chromium (VI) - dissolved","water","ECW specific pollutants and operational EQS - ST",32,null,"ug/l","95th percentile"]
["7440-48-4","Cobalt - dissolved","water","ECW specific pollutants and operational EQS - ST",100,null,"ug/l"]
["7440-50-8","Copper - dissolved ","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"DOC","mg/L",null,null,"<",1]
["7440-50-8","Copper - dissolved ","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"DOC","mg/L",">=",1]
["56-72-4","Coumaphos","water","ECW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["57-12-5","Cyanide","water","ECW specific pollutants and operational EQS - ST",5,null,"ug/l","95th percentile"]
["68359-37-5","Cyfluthrin","water","ECW specific pollutants and operational EQS - ST",1E-3,null,"ug/l","95th percentile"]
["52315-07-8","Cypermethrin","water","ECW specific pollutants and operational EQS - ST",4.0000000000000002E-4,null,"ug/l","95th percentile"]
["126-75-0","Demetons","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["333-41-5","Diazinon (sheep dip)","water","ECW specific pollutants and operational EQS - ST",0.26,null,"ug/l","95th percentile"]
["84-74-2","Dibutyl phthalate","water","ECW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["95-76-1","3,4-dichloroaniline","water","ECW specific pollutants and operational EQS - ST",5.4,null,"ug/l","95th percentile"]
["25321-22-6","Dichlorobenzene - total dichlorobenzene isomers","water","ECW specific pollutants and operational EQS - ST",200,null,"ug/l"]
["120-83-2","2,4-dichlorophenol","water","ECW specific pollutants and operational EQS - ST",6,null,"ug/l","95th percentile"]
["94-75-7","2,4-dichlorophenoxyacetic acid (2,4-D)","water","ECW specific pollutants and operational EQS - ST",1.3,null,"ug/l","95th percentile"]
["62-73-7","Dichlorvos","water","ECW specific pollutants and operational EQS - ST",0.6,null,"ug/l"]
["84-66-2","Diethyl phthalate","water","ECW specific pollutants and operational EQS - ST",1000,null,"ug/l"]
["35367-38-5","Diflubenzuron","water","ECW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["60-51-5","Dimethoate","water","ECW specific pollutants and operational EQS - ST",4,null,"ug/l","95th percentile"]
["131-11-3","Dimethyl phthalate","water","ECW specific pollutants and operational EQS - ST",4000,null,"ug/l"]
["117-84-0","Dioctyl phthalate","water","ECW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["117704-25-3","Doramectin","water","ECW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["60-00-4","EDTA","water","ECW specific pollutants and operational EQS - ST",4000,null,"ug/l"]
["299-84-3","Fenchlorphos","water","ECW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["122-14-5","Fenitrothion","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["370-50-3","Flucofuron","water","ECW specific pollutants and operational EQS - ST",1,null,"ug/l","95th percentile"]
["16984-48-8","Fluoride - dissolved","water","ECW specific pollutants and operational EQS - ST",15000,null,"ug/l"]
["50-00-0","Formaldehyde","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["1071-83-6","Glyphosate","water","ECW specific pollutants and operational EQS - ST",398,null,"ug/l","95th percentile"]
["7783-06-4","Hydrogen sulphide","water","ECW specific pollutants and operational EQS - ST",10,null,"ug/l"]
["1689-83-4","Ioxynil","water","ECW specific pollutants and operational EQS - ST",100,null,"ug/l"]
["7439-89-6","Iron - dissolved","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["70288-86-7","Ivermectin","water","ECW specific pollutants and operational EQS - ST",0.01,null,"ug/l"]
["330-55-2","Linuron","water","ECW specific pollutants and operational EQS - ST",0.9,null,"ug/l","95th percentile"]
["129-73-7","Malachite green","water","ECW specific pollutants and operational EQS - ST",100,null,"ug/l"]
["121-75-5","Malathion","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["8018-01-7","Mancozeb","water","ECW specific pollutants and operational EQS - ST",20,null,"ug/l"]
["12427-38-2","Maneb","water","ECW specific pollutants and operational EQS - ST",30,null,"ug/l"]
["7439-96-5","Manganese","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["94-74-6","MCPA","water","ECW specific pollutants and operational EQS - ST",800,null,"ug/l"]
["93-65-2","Mecoprop","water","ECW specific pollutants and operational EQS - ST",187,null,"ug/l","95th percentile"]
["2032-65-7","Methiocarb","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7786-34-7","Mevinphos","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["139-13-9","Nitrilotriacetic acid (NTA)","water","ECW specific pollutants and operational EQS - ST",30000,null,"ug/l"]
["1113-02-6","Omethoate","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["PCSD","PCSDs","water","ECW specific pollutants and operational EQS - ST",0.05,null,"ug/l","95th percentile"]
["40487-42-1","Pendimethalin","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["52645-53-1","Permethrin","water","ECW specific pollutants and operational EQS - ST",1E-3,null,"ug/l","95th percentile"]
["pH_Lab","pH","water","ECW specific pollutants and operational EQS - ST",8.5,6,"ug/l","95th percentile"]
["108-95-2","Phenol","water","ECW specific pollutants and operational EQS - ST",46,null,"ug/l","95th percentile"]
["23103-98-2","Pirimicarb","water","ECW specific pollutants and operational EQS - ST",5,null,"ug/l"]
["29232-93-7","Pirimiphos-methyl","water","ECW specific pollutants and operational EQS - ST",0.05,null,"ug/l"]
["67747-09-5","Prochloraz","water","ECW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["31218-83-4","Propetamphos","water","ECW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["23950-58-5","Propyzamide","water","ECW specific pollutants and operational EQS - ST",1000,null,"ug/l"]
["7440-22-4","Silver - dissolved","water","ECW specific pollutants and operational EQS - ST",1,null,"ug/l"]
["24019-05-4","Sulcofuron","water","ECW specific pollutants and operational EQS - ST",25,null,"ug/l","95th percentile"]
["14808-79-8","Sulphate","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["100-42-5","Styrene","water","ECW specific pollutants and operational EQS - ST",500,null,"ug/l"]
["117-18-0","Tecnazene - total","water","ECW specific pollutants and operational EQS - ST",10,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["148-79-8","Thiabendazole","water","ECW specific pollutants and operational EQS - ST",50,null,"ug/l"]
["7440-31-5","Tin (inorganic) - dissolved","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["108-88-3","Toluene","water","ECW specific pollutants and operational EQS - ST",370,null,"ug/l","95th percentile"]
["TotalAnions","Total anions","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["2303-17-5","Triallate","water","ECW specific pollutants and operational EQS - ST",5,null,"ug/l"]
["24017-47-8","Triazaphos","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["126-73-8","Tributyl phosphate","water","ECW specific pollutants and operational EQS - ST",500,null,"ug/l"]
["71-55-6","1,1,1-trichloroethane","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["3380-34-5","Triclosan","water","ECW specific pollutants and operational EQS - ST",0.28000000000000003,null,"ug/l","95th percentile"]
["668-34-8","Triphenyltin and its derivatives","water","ECW specific pollutants and operational EQS - ST",8.0000000000000002E-3,null,"ug/l"]
["79-00-5","1,1,2-trichloroethane","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-62-2","Vanadium","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["1330-20-7","Xylene","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-66-6","Zinc","water","ECW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]

{"sheet":"Freshwater hazardous, priority ","index":3,"n_rows":184,"n_cols":28,"rows_kept":184,"cut":false,"hidden":false,"merged":[]}
["Project:","UK_Ref",null,"Table:","[zRef_Environmental_Standards]",null,"Style:","EnviroStandards","NoLocs"]
["Path:",null,null,"Parent Tables:","zRef_Matrix_Types,zRef_Chemistry_Lookup"]
[]
["ChemCode","ChemName","MatrixType","ActionLevelSource","ActionLevel","ActionLevel_Min","Units","Comments","Leached","ActionLevel_Prefix","ActionLevel_Suffix","Conditional_Matrix_Type","Conditional_Depth_From","Conditional_Depth_To","Conditional_ChemCode1","Conditional_ChemCode1_Units","Conditional_ChemCode1_Min_Value_Prefix","Conditional_ChemCode1_Value_Min","Conditional_ChemCode1_Max_Value_Prefix","Conditional_ChemCode1_Value_Max","Conditional_ChemCode2","Conditional_ChemCode2_Units","Conditional_ChemCode2_Min_Value_Prefix","Conditional_ChemCode2_Value_Min","Conditional_ChemCode2_Max_Value_Prefix","Conditional_ChemCode2_Value_Max","Applies_To_Total_Result","Applies_To_Filtered_Result"]
["74070-46-5","Aclonifen","water","FW Priority HazSub EQS - LT",0.12,null,"ug/l"]
["15972-60-8","Alachlor","water","FW Priority HazSub EQS - LT",0.3,null,"ug/l"]
["120-12-7","Anthracene","water","FW Priority HazSub EQS - LT",0.1,null,"ug/l"]
["1912-24-9","Atrazine","water","FW Priority HazSub EQS - LT",0.6,null,"ug/l"]
["71-43-2","Benzene","water","FW Priority HazSub EQS - LT",10,null,"ug/l"]
["50-32-8","Benzo(a)-pyrene (BaP)","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["205-99-2","Benzo(b)-fluor-anthene","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["207-08-9","Benzo(k)-fluor-anthene","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["191-24-2","Benzo(g,h,i)-perylene","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["42576-02-3","Bifenox","water","FW Priority HazSub EQS - LT",1.2E-2,null,"ug/l"]
["PBDEs","Brominated diphenylether","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - LT",null,0.08,"ug/l",null,null,"<=",null,null,null,null,"Hardness","mg/L",null,null,"<",40]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - LT",0.08,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",40,"<",50]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - LT",0.09,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",50,"<",100]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - LT",0.15,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",100,"<",200]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - LT",0.25,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",200,"<"]
["56-23-5","Carbon tetrachloride","water","FW Priority HazSub EQS - LT",12,null,"ug/l"]
["470-90-6","Chlorfenvinphos","water","FW Priority HazSub EQS - LT",0.1,null,"ug/l"]
["85535-84-8","C10-13 chloroalkanes","water","FW Priority HazSub EQS - LT",0.4,null,"ug/l"]
["2921-88-2","Chlorpyrifos (chlorpyrifos-ethyl)","water","FW Priority HazSub EQS - LT",0.03,null,"ug/l"]
["28159-98-0","Cybutryne ","water","FW Priority HazSub EQS - LT",2.5000000000000001E-3,null,"ug/l"]
["CyclodienePest","Cyclodiene pesticides","water","FW Priority HazSub EQS - LT",0.01,null,"ug/l","total aldrin, dieldrin, endrin and isodrin"]
["52315-07-8","Cypermethrin","water","FW Priority HazSub EQS - LT",8.0000000000000007E-5,null,"ug/l"]
["50-29-3","DDT total","water","FW Priority HazSub EQS - LT",2.5000000000000001E-2,null,"ug/l"]
["50-29-3","Para-para-DDT","water","FW Priority HazSub EQS - LT",0.01,null,"ug/l"]
["107-06-2","1,2-dichloro-ethane","water","FW Priority HazSub EQS - LT",10,null,"ug/l"]
["75-09-2","Dichloro-methane","water","FW Priority HazSub EQS - LT",20,null,"ug/l"]
["62-73-7","Dichlorvos","water","FW Priority HazSub EQS - LT",5.9999999999999995E-4,null,"ug/l"]
["117-81-7","Di(2-ethylhexyl)-phthalate (DEHP)","water","FW Priority HazSub EQS - LT",1.3,null,"ug/l"]
["115-32-2","Dicofol","water","FW Priority HazSub EQS - LT",1.2999999999999999E-3,null,"ug/l"]
["Dioxins","Dioxins and dioxin-like compounds","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["330-54-1","Diuron","water","FW Priority HazSub EQS - LT",0.2,null,"ug/l"]
["115-29-7","Endosulphan","water","FW Priority HazSub EQS - LT",5.0000000000000001E-3,null,"ug/l"]
["206-44-0","Fluoranthene","water","FW Priority HazSub EQS - LT",6.3E-3,null,"ug/l"]
["76-44-8 & 1024-57-3","Heptachlor & heptachlor epoxide","water","FW Priority HazSub EQS - LT",1.9999999999999999E-7,null,"ug/l"]
["3194-55-6","Hexabromocyclo-dodecane (HBCDD)","water","FW Priority HazSub EQS - LT",1.6000000000000001E-3,null,"ug/l"]
["118-74-1","Hexachloro-benzene","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["87-68-3","Hexachloro-butadiene","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["27154-44-5","Hexachloro-cyclohexane","water","FW Priority HazSub EQS - LT",0.02,null,"ug/l"]
["193-39-5","Indeno(1,2,3-cd)-pyrene","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["34123-59-6","Isoproturon","water","FW Priority HazSub EQS - LT",0.3,null,"ug/l"]
["Lead_Compounds","Lead and its compounds - (dissolved)","water","FW Priority HazSub EQS - LT",1.2,null,"ug/l","(bioavailable)"]
["Mercury_compounds","Mercury and its compounds - (dissolved)","water","FW Priority HazSub EQS - LT",null,null,"ug/l","Not applicable"]
["91-20-3","Naphthalene","water","FW Priority HazSub EQS - LT",2,null,"ug/l"]
["Nickel_compounds","Nickel and its compounds - (dissolved)","water","FW Priority HazSub EQS - LT",4,null,"ug/l","(bioavailable)"]
["104-40-5","Nonylphenol (4-nonylphenol)","water","FW Priority HazSub EQS - LT",0.3,null,"ug/l"]
["27193-28-8","Octylphenol","water","FW Priority HazSub EQS - LT",0.1,null,"ug/l"]
["608-93-5","Pentachloro-benzene","water","FW Priority HazSub EQS - LT",7.0000000000000001E-3,null,"ug/l"]
["87-86-5","Pentachloro-phenol","water","FW Priority HazSub EQS - LT",0.4,null,"ug/l"]
["1763-23-1","PFOS","water","FW Priority HazSub EQS - LT",6.4999999999999997E-4,null,"ug/l"]
["TOTALPAH","Polyaromatic hydrocarbons (PAH)1","water","FW Priority HazSub EQS - LT",1.7000000000000001E-4,null,"ug/l"]
["124495-18-7","Quinoxyfen","water","FW Priority HazSub EQS - LT",0.15,null,"ug/l"]
["122-34-9","Simazine","water","FW Priority HazSub EQS - LT",1,null,"ug/l"]
["886-50-0","Terbutryn","water","FW Priority HazSub EQS - LT",6.2E-2,null,"ug/l"]
["127-18-4","Tetrachloro-ethylene","water","FW Priority HazSub EQS - LT",10,null,"ug/l"]
["TributyltinCompounds","Tributyltin compounds (tributyltin-cation)","water","FW Priority HazSub EQS - LT",2.0000000000000001E-4,null,"ug/l"]
["12002-48-1","Trichloro-benzenes","water","FW Priority HazSub EQS - LT",0.4,null,"ug/l"]
["79-01-6","Trichloro-ethylene","water","FW Priority HazSub EQS - LT",10,null,"ug/l"]
["67-66-3","Tricholoro-methane (chloroform)","water","FW Priority HazSub EQS - LT",2.5,null,"ug/l"]
["1582-09-8","Trifluralin","water","FW Priority HazSub EQS - LT",0.03,null,"ug/l"]
["74070-46-5","Aclonifen","water","FW Priority HazSub EQS - ST",0.12,null,"ug/l"]
["15972-60-8","Alachlor","water","FW Priority HazSub EQS - ST",0.7,null,"ug/l"]
["120-12-7","Anthracene","water","FW Priority HazSub EQS - ST",0.1,null,"ug/l"]
["1912-24-9","Atrazine","water","FW Priority HazSub EQS - ST",2,null,"ug/l"]
["71-43-2","Benzene","water","FW Priority HazSub EQS - ST",50,null,"ug/l"]
["50-32-8","Benzo(a)-pyrene (BaP)","water","FW Priority HazSub EQS - ST",0.27,null,"ug/l"]
["205-99-2","Benzo(b)-fluor-anthene","water","FW Priority HazSub EQS - ST",1.7000000000000001E-2,null,"ug/l"]
["207-08-9","Benzo(k)-fluor-anthene","water","FW Priority HazSub EQS - ST",1.7000000000000001E-2,null,"ug/l"]
["191-24-2","Benzo(g,h,i)-perylene","water","FW Priority HazSub EQS - ST",8.2000000000000007E-3,null,"ug/l"]
["42576-02-3","Bifenox ","water","FW Priority HazSub EQS - ST",0.04,null,"ug/l"]
["PBDEs","Brominated diphenylether","water","FW Priority HazSub EQS - ST",0.14000000000000001,null,"ug/l","total PBDE (or congener) numbers 28, 47, 99, 100, 153 and 154"]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - ST",null,0.45,"ug/l",null,null,"<=",null,null,null,null,"Hardness","mg/L",null,null,"<",40]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - ST",0.45,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",40,"<",50]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - ST",0.6,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",50,"<",100]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - ST",0.9,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",100,"<",200]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - ST",1.5,null,"ug/l",null,null,null,null,null,null,null,"Hardness","mg/L",">=",200,"<"]
["56-23-5","Carbon tetrachloride","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["470-90-6","Chlorfenvinphos","water","FW Priority HazSub EQS - ST",0.3,null,"ug/l"]
["85535-84-8","C10-13 chloroalkanes","water","FW Priority HazSub EQS - ST",1.4,null,"ug/l"]
["2921-88-2","Chlorpyrifos (chlorpyrifos-ethyl)","water","FW Priority HazSub EQS - ST",0.1,null,"ug/l"]
["28159-98-0","Cybutryne ","water","FW Priority HazSub EQS - ST",1.6E-2,null,"ug/l"]
["CyclodienePest","Cyclodiene pesticides","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable - total aldrin, dieldrin, endrin and isodrin"]
["52315-07-8","Cypermethrin","water","FW Priority HazSub EQS - ST",5.9999999999999995E-4,null,"ug/l"]
["50-29-3","DDT total","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["50-29-3","Para-para-DDT","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["107-06-2","1,2-dichloro-ethane","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["75-09-2","Dichloro-methane","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["62-73-7","Dichlorvos","water","FW Priority HazSub EQS - ST",6.9999999999999999E-4,null,"ug/l"]
["117-81-7","Di(2-ethylhexyl)-phthalate (DEHP)","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["115-32-2","Dicofol","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["Dioxins","Dioxins and dioxin-like compounds","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["330-54-1","Diuron","water","FW Priority HazSub EQS - ST",1.8,null,"ug/l"]
["115-29-7","Endosulphan","water","FW Priority HazSub EQS - ST",0.01,null,"ug/l"]
["206-44-0","Fluoranthene","water","FW Priority HazSub EQS - ST",0.12,null,"ug/l"]
["76-44-8 & 1024-57-3","Heptachlor & heptachlor epoxide","water","FW Priority HazSub EQS - ST",2.9999999999999997E-4,null,"ug/l"]
["3194-55-6","Hexabromocyclo-dodecane (HBCDD)","water","FW Priority HazSub EQS - ST",0.5,null,"ug/l"]
["118-74-1","Hexachloro-benzene","water","FW Priority HazSub EQS - ST",0.05,null,"ug/l"]
["87-68-3","Hexachloro-butadiene","water","FW Priority HazSub EQS - ST",0.6,null,"ug/l"]
["27154-44-5","Hexachloro-cyclohexane","water","FW Priority HazSub EQS - ST",0.04,null,"ug/l"]
["193-39-5","Indeno(1,2,3-cd)-pyrene","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["34123-59-6","Isoproturon","water","FW Priority HazSub EQS - ST",1,null,"ug/l"]
["Lead_Compounds","Lead and its compounds - (dissolved)","water","FW Priority HazSub EQS - ST",14,null,"ug/l"]
["Mercury_compounds","Mercury and its compounds - (dissolved)","water","FW Priority HazSub EQS - ST",7.0000000000000007E-2,null,"ug/l"]
["91-20-3","Naphthalene","water","FW Priority HazSub EQS - ST",130,null,"ug/l"]
["Nickel_compounds","Nickel and its compounds - (dissolved)","water","FW Priority HazSub EQS - ST",34,null,"ug/l"]
["104-40-5","Nonylphenol (4-nonylphenol)","water","FW Priority HazSub EQS - ST",2,null,"ug/l"]
["27193-28-8","Octylphenol","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["608-93-5","Pentachloro-benzene","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["87-86-5","Pentachloro-phenol","water","FW Priority HazSub EQS - ST",1,null,"ug/l"]
["1763-23-1","PFOS","water","FW Priority HazSub EQS - ST",36,null,"ug/l"]
["TOTALPAH","Polyaromatic hydrocarbons (PAH)1","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["124495-18-7","Quinoxyfen","water","FW Priority HazSub EQS - ST",2.7,null,"ug/l"]
["122-34-9","Simazine","water","FW Priority HazSub EQS - ST",4,null,"ug/l"]
["886-50-0","Terbutryn","water","FW Priority HazSub EQS - ST",0.34,null,"ug/l"]
["127-18-4","Tetrachloro-ethylene","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["TributyltinCompounds","Tributyltin compounds (tributyltin-cation)","water","FW Priority HazSub EQS - ST",1.5E-3,null,"ug/l"]
["12002-48-1","Trichloro-benzenes","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["79-01-6","Trichloro-ethylene","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["67-66-3","Tricholoro-methane (chloroform)","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["1582-09-8","Trifluralin","water","FW Priority HazSub EQS - ST",null,null,"ug/l","Not applicable"]
["74070-46-5","Aclonifen","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["15972-60-8","Alachlor","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["120-12-7","Anthracene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["1912-24-9","Atrazine","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["71-43-2","Benzene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["50-32-8","Benzo(a)-pyrene (BaP)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["205-99-2","Benzo(b)-fluor-anthene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["207-08-9","Benzo(k)-fluor-anthene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["191-24-2","Benzo(g,h,i)-perylene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["42576-02-3","Bifenox ","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["PBDEs","Brominated diphenylethe","water","FW Priority HazSub EQS - AP",8.5000000000000006E-3,null,"ug/l","in fish, total PBDE (or congener) numbers 28, 47, 99, 100, 153 and 154"]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"Hardness","mg/L",null,null,"<",40]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"Hardness","mg/L",">=",40,"<",50]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"Hardness","mg/L",">=",50,"<",100]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"Hardness","mg/L",">=",100,"<",200]
["7440-43-9","Cadmium and its compounds (dissolved)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"Hardness","mg/L",">=",200,"<"]
["56-23-5","Carbon tetrachloride","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["470-90-6","Chlorfenvinphos","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["85535-84-8","C10-13 chloroalkanes","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["2921-88-2","Chlorpyrifos (chlorpyrifos-ethyl)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["28159-98-0","Cybutryne ","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["CyclodienePest","Cyclodiene pesticides","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable - total aldrin, dieldrin, endrin and isodrin"]
["52315-07-8","Cypermethrin","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["50-29-3","DDT total","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["50-29-3","Para-para-DDT","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["107-06-2","1,2-dichloro-ethane","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["75-09-2","Dichloro-methane","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["62-73-7","Dichlorvos","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["117-81-7","Di(2-ethylhexyl)-phthalate (DEHP)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["115-32-2","Dicofol","water","FW Priority HazSub EQS - AP",33,null,"ug/l","in fish"]
["Dioxins","Dioxins and dioxin-like compounds","water","FW Priority HazSub EQS - AP",6.4999999999999997E-3,null,"ug/l","in fish, crustaceans and molluscs"]
["330-54-1","Diuron","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["115-29-7","Endosulphan","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["206-44-0","Fluoranthene","water","FW Priority HazSub EQS - AP",30,null,"ug/l","in crustaceans or molluscs"]
["76-44-8 & 1024-57-3","Heptachlor & heptachlor epoxide","water","FW Priority HazSub EQS - AP",6.7000000000000002E-3,null,"ug/l","in fish"]
["3194-55-6","Hexabromocyclo-dodecane (HBCDD)","water","FW Priority HazSub EQS - AP",167,null,"ug/l","in fish"]
["118-74-1","Hexachloro-benzene","water","FW Priority HazSub EQS - AP",10,null,"ug/l","in fish"]
["87-68-3","Hexachloro-butadiene","water","FW Priority HazSub EQS - AP",55,null,"ug/l","in fish"]
["27154-44-5","Hexachloro-cyclohexane","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["193-39-5","Indeno(1,2,3-cd)-pyrene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["34123-59-6","Isoproturon","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["Lead_Compounds","Lead and its compounds - (dissolved)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["Mercury_compounds","Mercury and its compounds - (dissolved)","water","FW Priority HazSub EQS - AP",20,null,"ug/l","in fish"]
["91-20-3","Naphthalene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["Nickel_compounds","Nickel and its compounds - (dissolved)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["104-40-5","Nonylphenol (4-nonylphenol)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["27193-28-8","Octylphenol ","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["608-93-5","Pentachloro-benzene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["87-86-5","Pentachloro-phenol","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["1763-23-1","PFOS","water","FW Priority HazSub EQS - AP",9.1,null,"ug/l","in fish"]
["TOTALPAH","Polyaromatic hydrocarbons (PAH)1","water","FW Priority HazSub EQS - AP",5,null,"ug/l","in crustaceans or molluscs"]
["124495-18-7","Quinoxyfen","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["122-34-9","Simazine","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["886-50-0","Terbutryn","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["127-18-4","Tetrachloro-ethylene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["TributyltinCompounds","Tributyltin compounds (tributyltin-cation)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["12002-48-1","Trichloro-benzenes","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["79-01-6","Trichloro-ethylene","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["67-66-3","Tricholoro-methane (chloroform)","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]
["1582-09-8","Trifluralin","water","FW Priority HazSub EQS - AP",null,null,"ug/l","Not applicable"]

{"sheet":"Freshwater Specfic Pollutants","index":4,"n_rows":200,"n_cols":28,"rows_kept":200,"cut":false,"hidden":false,"merged":[]}
["Project:","UK_Ref",null,"Table:","[zRef_Environmental_Standards]",null,"Style:","EnviroStandards","NoLocs"]
["Path:",null,null,"Parent Tables:","zRef_Matrix_Types,zRef_Chemistry_Lookup"]
[]
["ChemCode","ChemName","MatrixType","ActionLevelSource","ActionLevel","ActionLevel_Min","Units","Comments","Leached","ActionLevel_Prefix","ActionLevel_Suffix","Conditional_Matrix_Type","Conditional_Depth_From","Conditional_Depth_To","Conditional_ChemCode1","Conditional_ChemCode1_Units","Conditional_ChemCode1_Min_Value_Prefix","Conditional_ChemCode1_Value_Min","Conditional_ChemCode1_Max_Value_Prefix","Conditional_ChemCode1_Value_Max","Conditional_ChemCode2","Conditional_ChemCode2_Units","Conditional_ChemCode2_Min_Value_Prefix","Conditional_ChemCode2_Value_Min","Conditional_ChemCode2_Max_Value_Prefix","Conditional_ChemCode2_Value_Max","Applies_To_Total_Result","Applies_To_Filtered_Result"]
["71751-41-2","Abamectin","water","FW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["UnionizedAmmonia","Ammonia (un-ionised)","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["7440-38-2","Arsenic","water","FW specific pollutants and operational EQS - LT",50,null,"ug/l"]
["86-50-0","Azinphos-methyl dissolved)","water","FW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["25057-89-0","Bentazone","water","FW specific pollutants and operational EQS - LT",500,null,"ug/l"]
["85-68-7","Benzyl butyl phthalate","water","FW specific pollutants and operational EQS - LT",7.5,null,"ug/l"]
["92-52-4","Biphenyl","water","FW specific pollutants and operational EQS - LT",25,null,"ug/l"]
["7440-42-8","Boron","water","FW specific pollutants and operational EQS - LT",2000,null,"ug/l"]
["7726-95-6","Bromine (total residual oxidant)","water","FW specific pollutants and operational EQS - LT",2,null,"ug/l"]
["1689-84-5","Bromoxynil","water","FW specific pollutants and operational EQS - LT",100,null,"ug/l"]
["10605-21-7","Carbendazim","water","FW specific pollutants and operational EQS - LT",0.15,null,"ug/l"]
["16887-00-6","Chloride","water","FW specific pollutants and operational EQS - LT",250000,null,"ug/l"]
["7782-50-5","Chlorine (total residual oxidant)","water","FW specific pollutants and operational EQS - LT",2,null,"ug/l"]
["59-50-7","4-chloro-3-methylphenol","water","FW specific pollutants and operational EQS - LT",40,null,"ug/l"]
["Chloronitrotoluenes","Chloronitro toluenes","water","FW specific pollutants and operational EQS - LT",10,null,"ug/l"]
["95-57-8","2-chlorophenol","water","FW specific pollutants and operational EQS - LT",50,null,"ug/l"]
["108-43-0 & 106-48-9","3-chlorophenol 4-chlorophenol","water","FW specific pollutants and operational EQS - LT",50,null,"ug/l","(total or individual monochlorophenols)"]
["108-43-0","3-chlorophenol","water","FW specific pollutants and operational EQS - LT",50,null,"ug/l","(total or individual monochlorophenols)"]
["106-48-9","4-chlorophenol","water","FW specific pollutants and operational EQS - LT",50,null,"ug/l","(total or individual monochlorophenols)"]
["1897-45-6","Chlorothalonil","water","FW specific pollutants and operational EQS - LT",3.5000000000000003E-2,null,"ug/l"]
["15545-48-9","Chlorotoluron","water","FW specific pollutants and operational EQS - LT",2,null,"ug/l"]
["101-21-3","Chlorpropham","water","FW specific pollutants and operational EQS - LT",10,null,"ug/l"]
["16065-83-1","Chromium (III) (dissolved)","water","FW specific pollutants and operational EQS - LT",4.7,null,"ug/l"]
["18540-29-9","Chromium (VI) (dissolved)","water","FW specific pollutants and operational EQS - LT",3.4,null,"ug/l"]
["7440-48-4","Cobalt (dissolved)","water","FW specific pollutants and operational EQS - LT",3,null,"ug/l"]
["7440-50-8","Copper (dissolved)","water","FW specific pollutants and operational EQS - LT",1,null,"ug/l","bioavailable"]
["56-72-4","Coumaphos","water","FW specific pollutants and operational EQS - LT",0.03,null,"ug/l"]
["57-12-5","Cyanide","water","FW specific pollutants and operational EQS - LT",1,null,"ug/l"]
["68359-37-5","Cyfluthrin","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["126-75-0","Demetons","water","FW specific pollutants and operational EQS - LT",0.5,null,"ug/l"]
["333-41-5","Diazinon (sheep dip)","water","FW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["84-74-2","Dibutyl phthalate","water","FW specific pollutants and operational EQS - LT",8,null,"ug/l"]
["95-76-1","3,4-dichloroaniline","water","FW specific pollutants and operational EQS - LT",0.2,null,"ug/l"]
["25321-22-6","Dichlorobenzene (total dichlorobenzene isomers)","water","FW specific pollutants and operational EQS - LT",20,null,"ug/l"]
["120-83-2","2,4-dichlorophenol","water","FW specific pollutants and operational EQS - LT",4.2,null,"ug/l"]
["94-75-7","2,4-dichlorophenoxyacetic acid (2,4-D)","water","FW specific pollutants and operational EQS - LT",0.3,null,"ug/l"]
["84-66-2","Diethyl phthalate","water","FW specific pollutants and operational EQS - LT",200,null,"ug/l"]
["35367-38-5","Diflubenzuron","water","FW specific pollutants and operational EQS - LT",1E-3,null,"ug/l"]
["60-51-5","Dimethoate","water","FW specific pollutants and operational EQS - LT",0.48,null,"ug/l"]
["131-11-3","Dimethyl phthalate","water","FW specific pollutants and operational EQS - LT",800,null,"ug/l"]
["117-84-0","Dioctyl phthalate","water","FW specific pollutants and operational EQS - LT",20,null,"ug/l"]
["117704-25-3","Doramectin","water","FW specific pollutants and operational EQS - LT",1E-3,null,"ug/l"]
["60-00-4","EDTA","water","FW specific pollutants and operational EQS - LT",400,null,"ug/l"]
["299-84-3","Fenchlorphos","water","FW specific pollutants and operational EQS - LT",0.03,null,"ug/l"]
["122-14-5","Fenitrothion","water","FW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["370-50-3","Flucofuron","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["16984-48-8","Fluoride (dissolved)","water","FW specific pollutants and operational EQS - LT",1000,null,"ug/l",null,null,null,null,null,null,null,"471-34-1","mg/L",null,null,"<",50]
["16984-48-8","Fluoride (dissolved)","water","FW specific pollutants and operational EQS - LT",5000,null,"ug/l",null,null,null,null,null,null,null,"471-34-1","mg/L",">=",50]
["50-00-0","Formaldehyde","water","FW specific pollutants and operational EQS - LT",5,null,"ug/l"]
["1071-83-6","Glyphosate","water","FW specific pollutants and operational EQS - LT",196,null,"ug/l"]
["7783-06-4","Hydrogen sulphide","water","FW specific pollutants and operational EQS - LT",0.25,null,"ug/l"]
["1689-83-4","Ioxynil","water","FW specific pollutants and operational EQS - LT",10,null,"ug/l"]
["7439-89-6","Iron (dissolved)","water","FW specific pollutants and operational EQS - LT",1000,null,"ug/l"]
["70288-86-7","Ivermectin","water","FW specific pollutants and operational EQS - LT",1E-4,null,"ug/l"]
["330-55-2","Linuron","water","FW specific pollutants and operational EQS - LT",0.5,null,"ug/l"]
["129-73-7","Malachite green","water","FW specific pollutants and operational EQS - LT",0.5,null,"ug/l"]
["121-75-5","Malathion","water","FW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["8018-01-7","Mancozeb","water","FW specific pollutants and operational EQS - LT",2,null,"ug/l"]
["12427-38-2","Maneb","water","FW specific pollutants and operational EQS - LT",3,null,"ug/l"]
["7439-96-5","Manganese","water","FW specific pollutants and operational EQS - LT",123,null,"ug/l","bioavailable"]
["94-74-6","MCPA (pH level less than 7)","water","FW specific pollutants and operational EQS - LT",12,null,"ug/l",null,null,null,null,null,null,null,"pH_Lab","-",null,null,"<",7]
["94-74-6","MCPA (pH level higher than 7)","water","FW specific pollutants and operational EQS - LT",80,null,"ug/l",null,null,null,null,null,null,null,"pH_Lab","-",">=",7]
["93-65-2","Mecoprop","water","FW specific pollutants and operational EQS - LT",18,null,"ug/l"]
["2032-65-7","Methiocarb","water","FW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["7786-34-7","Mevinphos","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["139-13-9","Nitrilotriacetic acid (NTA)","water","FW specific pollutants and operational EQS - LT",1000,null,"ug/l"]
["1113-02-6","Omethoate","water","FW specific pollutants and operational EQS - LT",0.01,null,"ug/l"]
["PCSD","PCSDs","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["40487-42-1","Pendimethalin","water","FW specific pollutants and operational EQS - LT",0.3,null,"ug/l"]
["52645-53-1","Permethrin","water","FW specific pollutants and operational EQS - LT",1E-3,null,"ug/l"]
["pH_Lab","pH","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["108-95-2","Phenol","water","FW specific pollutants and operational EQS - LT",7.7,null,"ug/l"]
["23103-98-2","Pirimicarb","water","FW specific pollutants and operational EQS - LT",1,null,"ug/l"]
["29232-93-7","Pirimiphos-methyl","water","FW specific pollutants and operational EQS - LT",1.4999999999999999E-2,null,"ug/l"]
["67747-09-5","Prochloraz","water","FW specific pollutants and operational EQS - LT",4,null,"ug/l"]
["31218-83-4","Propetamphos","water","FW specific pollutants and operational EQS - LT",0.03,null,"ug/l"]
["23950-58-5","Propyzamide","water","FW specific pollutants and operational EQS - LT",100,null,"ug/l"]
["7440-22-4","Silver - (dissolved)","water","FW specific pollutants and operational EQS - LT",0.05,null,"ug/l"]
["24019-05-4","Sulcofuron","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["14808-79-8","Sulphate","water","FW specific pollutants and operational EQS - LT",400000,null,"ug/l"]
["100-42-5","Styrene","water","FW specific pollutants and operational EQS - LT",50,null,"ug/l"]
["117-18-0","Tecnazene - total","water","FW specific pollutants and operational EQS - LT",1,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","FW specific pollutants and operational EQS - LT",140,null,"ug/l"]
["148-79-8","Thiabendazole","water","FW specific pollutants and operational EQS - LT",5,null,"ug/l"]
["7440-31-5","Tin (inorganic) (total) ","water","FW specific pollutants and operational EQS - LT",25,null,"ug/l"]
["108-88-3","Toluene","water","FW specific pollutants and operational EQS - LT",74,null,"ug/l"]
["TotalAnions","Total anions","water","FW specific pollutants and operational EQS - LT",250000,null,"ug/l"]
["2303-17-5","Triallate","water","FW specific pollutants and operational EQS - LT",0.25,null,"ug/l"]
["24017-47-8","Triazaphos","water","FW specific pollutants and operational EQS - LT",5.0000000000000001E-3,null,"ug/l"]
["126-73-8","Tributyl phosphate","water","FW specific pollutants and operational EQS - LT",50,null,"ug/l"]
["71-55-6","1,1,1-trichloroethane","water","FW specific pollutants and operational EQS - LT",100,null,"ug/l"]
["3380-34-5","Triclosan","water","FW specific pollutants and operational EQS - LT",0.1,null,"ug/l"]
["668-34-8","Triphenyltin and derivatives","water","FW specific pollutants and operational EQS - LT",null,null,"ug/l","Not applicable"]
["79-00-5","1,1,2-trichloroethane","water","FW specific pollutants and operational EQS - LT",400,null,"ug/l"]
["7440-62-2","Vanadium","water","FW specific pollutants and operational EQS - LT",20,null,"ug/l",null,null,null,null,null,null,null,"471-34-1","mg/L",null,null,"<",200]
["7440-62-2","Vanadium","water","FW specific pollutants and operational EQS - LT",60,null,"ug/l",null,null,null,null,null,null,null,"471-34-1","mg/L",">=",200]
["1330-20-7","Xylene","water","FW specific pollutants and operational EQS - LT",30,null,"ug/l"]
["7440-66-6","Zinc - (dissolved)","water","FW specific pollutants and operational EQS - LT",10.9,null,"ug/l","bioavailable (plus ambient background concentration)"]
["71751-41-2","Abamectin","water","FW specific pollutants and operational EQS - ST",0.03,null,"ug/l"]
["UnionizedAmmonia","Ammonia (un-ionised)","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-38-2","Arsenic","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["86-50-0","Azinphos-methyl dissolved)","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["25057-89-0","Bentazone","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["85-68-7","Benzyl butyl phthalate","water","FW specific pollutants and operational EQS - ST",51,null,"ug/l","95th percentile"]
["92-52-4","Biphenyl","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-42-8","Boron","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7726-95-6","Bromine (total residual oxidant)","water","FW specific pollutants and operational EQS - ST",5,null,"ug/l"]
["1689-84-5","Bromoxynil","water","FW specific pollutants and operational EQS - ST",1000,null,"ug/l"]
["10605-21-7","Carbendazim","water","FW specific pollutants and operational EQS - ST",0.7,null,"ug/l"]
["16887-00-6","Chloride","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7782-50-5","Chlorine (total residual oxidant)","water","FW specific pollutants and operational EQS - ST",5,null,"ug/l","95th percentile"]
["59-50-7","4-chloro-3-methylphenol","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["Chloronitrotoluenes","Chloronitro toluenes","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["95-57-8","2-chlorophenol","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["108-43-0 & 106-48-9","3-chlorophenol 4-chlorophenol","water","FW specific pollutants and operational EQS - ST",250,null,"ug/l","(total or individual monochlorophenols)"]
["108-43-0","3-chlorophenol","water","FW specific pollutants and operational EQS - ST",250,null,"ug/l","(total or individual monochlorophenols)"]
["106-48-9","4-chlorophenol","water","FW specific pollutants and operational EQS - ST",250,null,"ug/l","(total or individual monochlorophenols)"]
["1897-45-6","Chlorothalonil","water","FW specific pollutants and operational EQS - ST",1.2,null,"ug/l"]
["15545-48-9","Chlorotoluron","water","FW specific pollutants and operational EQS - ST",20,null,"ug/l"]
["101-21-3","Chlorpropham","water","FW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["16065-83-1","Chromium (III) (dissolved)","water","FW specific pollutants and operational EQS - ST",32,null,"ug/l","95th percentile"]
["18540-29-9","Chromium (VI) (dissolved)","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-48-4","Cobalt (dissolved)","water","FW specific pollutants and operational EQS - ST",100,null,"ug/l"]
["7440-50-8","Copper (dissolved)","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["56-72-4","Coumaphos","water","FW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["57-12-5","Cyanide","water","FW specific pollutants and operational EQS - ST",5,null,"ug/l","95th percentile"]
["68359-37-5","Cyfluthrin","water","FW specific pollutants and operational EQS - ST",1E-3,null,"ug/l","95th percentile"]
["126-75-0","Demetons","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["333-41-5","Diazinon (sheep dip)","water","FW specific pollutants and operational EQS - ST",0.02,null,"ug/l","95th percentile"]
["84-74-2","Dibutyl phthalate","water","FW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["95-76-1","3,4-dichloroaniline","water","FW specific pollutants and operational EQS - ST",5.4,null,"ug/l","95th percentile"]
["25321-22-6","Dichlorobenzene (total dichlorobenzene isomers)","water","FW specific pollutants and operational EQS - ST",200,null,"ug/l"]
["120-83-2","2,4-dichlorophenol","water","FW specific pollutants and operational EQS - ST",140,null,"ug/l","95th percentile"]
["94-75-7","2,4-dichlorophenoxyacetic acid (2,4-D)","water","FW specific pollutants and operational EQS - ST",1.3,null,"ug/l","95th percentile"]
["84-66-2","Diethyl phthalate","water","FW specific pollutants and operational EQS - ST",1000,null,"ug/l"]
["35367-38-5","Diflubenzuron","water","FW specific pollutants and operational EQS - ST",1.4999999999999999E-2,null,"ug/l"]
["60-51-5","Dimethoate","water","FW specific pollutants and operational EQS - ST",4,null,"ug/l","95th percentile"]
["131-11-3","Dimethyl phthalate","water","FW specific pollutants and operational EQS - ST",4000,null,"ug/l"]
["117-84-0","Dioctyl phthalate","water","FW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["117704-25-3","Doramectin","water","FW specific pollutants and operational EQS - ST",0.01,null,"ug/l"]
["60-00-4","EDTA","water","FW specific pollutants and operational EQS - ST",4000,null,"ug/l"]
["299-84-3","Fenchlorphos","water","FW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["122-14-5","Fenitrothion","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["370-50-3","Flucofuron","water","FW specific pollutants and operational EQS - ST",1,null,"ug/l","95th percentile"]
["16984-48-8","Fluoride (dissolved)","water","FW specific pollutants and operational EQS - ST",3000,null,"ug/l",null,null,null,null,null,null,null,"471-34-1","mg/L",null,null,"<",50]
["16984-48-8","Fluoride (dissolved)","water","FW specific pollutants and operational EQS - ST",15000,null,"ug/l",null,null,null,null,null,null,null,"471-34-1","mg/L",">=",50]
["50-00-0","Formaldehyde","water","FW specific pollutants and operational EQS - ST",50,null,"ug/l"]
["1071-83-6","Glyphosate","water","FW specific pollutants and operational EQS - ST",398,null,"ug/l","95th percentile"]
["7783-06-4","Hydrogen sulphide","water","FW specific pollutants and operational EQS - ST",1,null,"ug/l"]
["1689-83-4","Ioxynil","water","FW specific pollutants and operational EQS - ST",100,null,"ug/l"]
["7439-89-6","Iron (dissolved)","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["70288-86-7","Ivermectin","water","FW specific pollutants and operational EQS - ST",1E-3,null,"ug/l"]
["330-55-2","Linuron","water","FW specific pollutants and operational EQS - ST",0.9,null,"ug/l","95th percentile"]
["129-73-7","Malachite green","water","FW specific pollutants and operational EQS - ST",100,null,"ug/l"]
["121-75-5","Malathion","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["8018-01-7","Mancozeb","water","FW specific pollutants and operational EQS - ST",20,null,"ug/l"]
["12427-38-2","Maneb","water","FW specific pollutants and operational EQS - ST",30,null,"ug/l"]
["7439-96-5","Manganese","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["94-74-6","MCPA (pH level less than 7)","water","FW specific pollutants and operational EQS - ST",80,null,"ug/l",null,null,null,null,null,null,null,"pH_Lab","-",null,null,"<",7]
["94-74-6","MCPA (pH level higher than 7)","water","FW specific pollutants and operational EQS - ST",100,null,"ug/l",null,null,null,null,null,null,null,"pH_Lab","-",">=",7]
["93-65-2","Mecoprop","water","FW specific pollutants and operational EQS - ST",187,null,"ug/l","95th percentile"]
["2032-65-7","Methiocarb","water","FW specific pollutants and operational EQS - ST",0.77,null,"ug/l","95th percentile"]
["7786-34-7","Mevinphos","water","FW specific pollutants and operational EQS - ST",0.02,null,"ug/l"]
["139-13-9","Nitrilotriacetic acid (NTA)","water","FW specific pollutants and operational EQS - ST",10000,null,"ug/l"]
["1113-02-6","Omethoate","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["PCSD","PCSDs","water","FW specific pollutants and operational EQS - ST",0.05,null,"ug/l","95th percentile"]
["40487-42-1","Pendimethalin","water","FW specific pollutants and operational EQS - ST",0.57999999999999996,null,"ug/l","95th percentile"]
["52645-53-1","Permethrin","water","FW specific pollutants and operational EQS - ST",0.01,null,"ug/l","95th percentile"]
["pH_Lab","pH","water","FW specific pollutants and operational EQS - ST",69,null,"ug/l","95th percentile"]
["108-95-2","Phenol","water","FW specific pollutants and operational EQS - ST",46,null,"ug/l","95th percentile"]
["23103-98-2","Pirimicarb","water","FW specific pollutants and operational EQS - ST",5,null,"ug/l"]
["29232-93-7","Pirimiphos-methyl","water","FW specific pollutants and operational EQS - ST",0.05,null,"ug/l"]
["67747-09-5","Prochloraz","water","FW specific pollutants and operational EQS - ST",40,null,"ug/l"]
["31218-83-4","Propetamphos","water","FW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["23950-58-5","Propyzamide","water","FW specific pollutants and operational EQS - ST",1000,null,"ug/l"]
["7440-22-4","Silver - (dissolved)","water","FW specific pollutants and operational EQS - ST",0.1,null,"ug/l"]
["24019-05-4","Sulcofuron","water","FW specific pollutants and operational EQS - ST",25,null,"ug/l","95th percentile"]
["14808-79-8","Sulphate","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["100-42-5","Styrene","water","FW specific pollutants and operational EQS - ST",500,null,"ug/l"]
["117-18-0","Tecnazene - total","water","FW specific pollutants and operational EQS - ST",10,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","FW specific pollutants and operational EQS - ST",1848,null,"ug/l","95th percentile"]
["148-79-8","Thiabendazole","water","FW specific pollutants and operational EQS - ST",50,null,"ug/l"]
["7440-31-5","Tin (inorganic) (total) ","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["108-88-3","Toluene","water","FW specific pollutants and operational EQS - ST",380,null,"ug/l","95th percentile"]
["TotalAnions","Total anions","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["2303-17-5","Triallate","water","FW specific pollutants and operational EQS - ST",5,null,"ug/l"]
["24017-47-8","Triazaphos","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["126-73-8","Tributyl phosphate","water","FW specific pollutants and operational EQS - ST",500,null,"ug/l"]
["71-55-6","1,1,1-trichloroethane","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["3380-34-5","Triclosan","water","FW specific pollutants and operational EQS - ST",0.28000000000000003,null,"ug/l","95th percentile"]
["668-34-8","Triphenyltin and derivatives","water","FW specific pollutants and operational EQS - ST",0.02,null,"ug/l"]
["79-00-5","1,1,2-trichloroethane","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-62-2","Vanadium","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"471-34-1","mg/L",null,null,"<",200]
["7440-62-2","Vanadium","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable",null,null,null,null,null,null,"471-34-1","mg/L",">=",200]
["1330-20-7","Xylene","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable"]
["7440-66-6","Zinc - (dissolved)","water","FW specific pollutants and operational EQS - ST",null,null,"ug/l","Not applicable (plus ambient background concentration)"]

{"sheet":"Sheet1","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}

{"sheet":"zRef_Drop_Downs","index":6,"n_rows":1,"n_cols":3,"rows_kept":1,"cut":false,"hidden":true,"merged":[]}
["Table","Column","Values"]

{"sheet":"MonRoundInfo","index":7,"n_rows":3,"n_cols":1,"rows_kept":3,"cut":false,"hidden":true,"merged":[]}
["Monitoring_Round"]
["Project_ID"]
["PID"]