{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["Directions","zRef_Environmental_S","Sheet1","zRef_Drop_Downs","MonRoundInfo"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":1,"defined_names":6,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Directions","index":0,"n_rows":21,"n_cols":3,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[]
[null,null,"These Guidelines have been transposed from the original at: "]
[null,null,"https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/307788/river-basin-planning-standards.pdf"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Disclaimer: All care has been exercised in the compilation of these guidelines for quick import to ESDAT, \nhowever no liability is taken for any error.  It is the responsibility of the user to review the contained data \nand ensure their data is compliant with the relevant guidelines, and that this compilation meets their requirements.  "]

{"sheet":"zRef_Environmental_S","index":1,"n_rows":121,"n_cols":28,"rows_kept":121,"cut":false,"hidden":false,"merged":[]}
["Project:","Sample Hydrogeology and Contam",null,"Table:","[zRef_Environmental_Standards]",null,"Style:","EnviroStandards","HasLocs"]
["Path:",null,null,"Parent Tables:","zRef_Matrix_Types,zRef_Chemistry_Lookup"]
[]
["ChemCode","ChemName","MatrixType","ActionLevelSource","ActionLevel","ActionLevel_Min","Units","Comments","Leached","ActionLevel_Prefix","ActionLevel_Suffix","Conditional_Matrix_Type","Conditional_Depth_From","Conditional_Depth_To","Conditional_ChemCode1","Conditional_ChemCode1_Units","Conditional_ChemCode1_Min_Value_Prefix","Conditional_ChemCode1_Value_Min","Conditional_ChemCode1_Max_Value_Prefix","Conditional_ChemCode1_Value_Max","Conditional_ChemCode2","Conditional_ChemCode2_Units","Conditional_ChemCode2_Min_Value_Prefix","Conditional_ChemCode2_Value_Min","Conditional_ChemCode2_Max_Value_Prefix","Conditional_ChemCode2_Value_Max","Applies_To_Total_Result","Applies_To_Filtered_Result"]
["UnionizedAmmonia","Unionised ammonia","water","Fresh water long-term","‐‐‐",null,"ug/l"]
["7440-38-2","Arsenic","water","Fresh water long-term",50,null,"ug/l"]
["85-68-7","Benzyl butyl phthalate","water","Fresh water long-term",7.5,null,"ug/l"]
["10605-21-7","Carbendazim","water","Fresh water long-term",0.15,null,"ug/l"]
["1897-45-6","Chlorothalonil","water","Fresh water long-term",3.5000000000000003E-2,null,"ug/l"]
["16065-83-1","Chromium(III)","water","Fresh water long-term",4.7,null,"ug/l"]
["18540-29-9","Chromium(VI)","water","Fresh water long-term",3.4,null,"ug/l"]
["7782-50-5","Chlorine","water","Fresh water long-term",2,null,"ug/l"]
["7440-50-8","Copper","water","Fresh water long-term",1,null,"ug/l","bioavailable"]
["57-12-5","Cyanide","water","Fresh water long-term",1,null,"ug/l"]
["52315-07-8","Cypermethrin1","water","Fresh water long-term",0.1,null,"ug/l"]
["333-41-5","Diazinon","water","Fresh water long-term",0.01,null,"ug/l"]
["120-83-2","2,4‐ dichlorophenol","water","Fresh water long-term",4.2,null,"ug/l"]
["94-75-7","2,4‐ dichlorophenoxyacetic acid (2,4‐D)","water","Fresh water long-term",0.3,null,"ug/l"]
["95-76-1","3,4‐ dichloroaniline","water","Fresh water long-term",0.2,null,"ug/l"]
["60-51-5","Dimethoate","water","Fresh water long-term",0.48,null,"ug/l"]
["1071-83-6","Glyphosate","water","Fresh water long-term",196,null,"ug/l"]
["7439-89-6","Iron","water","Fresh water long-term",1,null,"ug/l"]
["330-55-2","Linuron","water","Fresh water long-term",0.5,null,"ug/l"]
["7439-96-5","Manganese","water","Fresh water long-term",123,null,"ug/l","bioavailable"]
["93-65-2","Mecoprop","water","Fresh water long-term",18,null,"ug/l"]
["2032-65-7","Methiocarb","water","Fresh water long-term",0.01,null,"ug/l"]
["40487-42-1","Pendimethalin","water","Fresh water long-term",0.3,null,"ug/l"]
["52645-53-1","Permethrin","water","Fresh water long-term",1E-3,null,"ug/l"]
["108-95-2","Phenol","water","Fresh water long-term",7.7,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","Fresh water long-term",140,null,"ug/l"]
["3380-34-5","Triclosan","water","Fresh water long-term",0.1,null,"ug/l"]
["108-88-3","Toluene","water","Fresh water long-term",74,null,"ug/l"]
["7440-66-6","Zinc","water","Fresh water long-term",10.9,null,"ug/l","bioavailable plus Ambient Background Concentration (µg/l) dissolved"]
["UnionizedAmmonia","Unionised ammonia","water","Fresh water short-term","‐‐‐",null,"ug/l"]
["7440-38-2","Arsenic","water","Fresh water short-term","‐‐‐",null,"ug/l"]
["85-68-7","Benzyl butyl phthalate","water","Fresh water short-term",51,null,"ug/l"]
["10605-21-7","Carbendazim","water","Fresh water short-term",0.7,null,"ug/l"]
["1897-45-6","Chlorothalonil","water","Fresh water short-term",1.2,null,"ug/l"]
["16065-83-1","Chromium(III)","water","Fresh water short-term",32,null,"ug/l"]
["18540-29-9","Chromium(VI)","water","Fresh water short-term","‐‐‐",null,"ug/l"]
["7782-50-5","Chlorine","water","Fresh water short-term",5,null,"ug/l"]
["7440-50-8","Copper","water","Fresh water short-term",null,null,"ug/l"]
["57-12-5","Cyanide","water","Fresh water short-term",5,null,"ug/l"]
["52315-07-8","Cypermethrin1","water","Fresh water short-term",0.4,null,"ug/l"]
["333-41-5","Diazinon","water","Fresh water short-term",0.02,null,"ug/l"]
["120-83-2","2,4‐ dichlorophenol","water","Fresh water short-term",140,null,"ug/l"]
["94-75-7","2,4‐ dichlorophenoxyacetic acid (2,4‐D)","water","Fresh water short-term",1.3,null,"ug/l"]
["95-76-1","3,4‐ dichloroaniline","water","Fresh water short-term",5.4,null,"ug/l"]
["60-51-5","Dimethoate","water","Fresh water short-term",4,null,"ug/l"]
["1071-83-6","Glyphosate","water","Fresh water short-term",398,null,"ug/l"]
["7439-89-6","Iron","water","Fresh water short-term","‐‐‐",null,"ug/l"]
["330-55-2","Linuron","water","Fresh water short-term",0.9,null,"ug/l"]
["7439-96-5","Manganese","water","Fresh water short-term","‐‐‐",null,"ug/l"]
["93-65-2","Mecoprop","water","Fresh water short-term",187,null,"ug/l"]
["2032-65-7","Methiocarb","water","Fresh water short-term",0.77,null,"ug/l"]
["40487-42-1","Pendimethalin","water","Fresh water short-term",0.57999999999999996,null,"ug/l"]
["52645-53-1","Permethrin","water","Fresh water short-term",0.01,null,"ug/l"]
["108-95-2","Phenol","water","Fresh water short-term",46,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","Fresh water short-term",1848,null,"ug/l"]
["3380-34-5","Triclosan","water","Fresh water short-term",0.28000000000000003,null,"ug/l"]
["108-88-3","Toluene","water","Fresh water short-term",380,null,"ug/l"]
["7440-66-6","Zinc","water","Fresh water short-term",null,null,"ug/l"]
["UnionizedAmmonia","Unionised ammonia","water","Salt water long-term",21,null,"ug/l"]
["7440-38-2","Arsenic","water","Salt water long-term",25,null,"ug/l"]
["85-68-7","Benzyl butyl phthalate","water","Salt water long-term",0.75,null,"ug/l"]
["10605-21-7","Carbendazim","water","Salt water long-term","‐‐‐",null,"ug/l"]
["1897-45-6","Chlorothalonil","water","Salt water long-term","‐‐‐",null,"ug/l"]
["16065-83-1","Chromium(III)","water","Salt water long-term","‐‐‐",null,"ug/l"]
["18540-29-9","Chromium(VI)","water","Salt water long-term",0.6,null,"ug/l"]
["7782-50-5","Chlorine","water","Salt water long-term","‐‐‐",null,"ug/l"]
["7440-50-8","Copper","water","Salt water long-term",3.76,null,"ug/l","µg/l dissolved, where DOC ≤1mg/l",null,null,null,null,null,null,"DOC","mg/L","<=",1]
["7440-50-8","Copper","water","Salt water long-term",null,null,"ug/l","3.76 + (2.677 x ((DOC/2) – 0.5)) µg/l dissolved, where DOC >1mg/l",null,null,null,null,null,null,"DOC","mg/L",">",1]
["57-12-5","Cyanide","water","Salt water long-term",1,null,"ug/l"]
["52315-07-8","Cypermethrin1","water","Salt water long-term",0.1,null,"ug/l"]
["333-41-5","Diazinon","water","Salt water long-term",0.01,null,"ug/l"]
["120-83-2","2,4‐ dichlorophenol","water","Salt water long-term",0.42,null,"ug/l"]
["94-75-7","2,4‐ dichlorophenoxyacetic acid (2,4‐D)","water","Salt water long-term",0.3,null,"ug/l"]
["95-76-1","3,4‐ dichloroaniline","water","Salt water long-term",0.2,null,"ug/l"]
["60-51-5","Dimethoate","water","Salt water long-term",0.48,null,"ug/l"]
["1071-83-6","Glyphosate","water","Salt water long-term",196,null,"ug/l"]
["7439-89-6","Iron","water","Salt water long-term",1,null,"ug/l"]
["330-55-2","Linuron","water","Salt water long-term",0.5,null,"ug/l"]
["7439-96-5","Manganese","water","Salt water long-term","‐‐‐",null,"ug/l"]
["93-65-2","Mecoprop","water","Salt water long-term",18,null,"ug/l"]
["2032-65-7","Methiocarb","water","Salt water long-term","‐‐‐",null,"ug/l"]
["40487-42-1","Pendimethalin","water","Salt water long-term","‐‐‐",null,"ug/l"]
["52645-53-1","Permethrin","water","Salt water long-term",2.0000000000000001E-4,null,"ug/l"]
["108-95-2","Phenol","water","Salt water long-term",7.7,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","Salt water long-term","‐‐‐",null,"ug/l"]
["3380-34-5","Triclosan","water","Salt water long-term",0.1,null,"ug/l"]
["108-88-3","Toluene","water","Salt water long-term",74,null,"ug/l"]
["7440-66-6","Zinc","water","Salt water long-term",6.8,null,"ug/l","dissolved plus Ambient Background Concentration (µg/l)"]
["UnionizedAmmonia","Unionised ammonia","water","Salt water short-term","‐‐‐",null,"ug/l"]
["7440-38-2","Arsenic","water","Salt water short-term","‐‐‐",null,"ug/l"]
["85-68-7","Benzyl butyl phthalate","water","Salt water short-term",10,null,"ug/l"]
["10605-21-7","Carbendazim","water","Salt water short-term","‐‐‐",null,"ug/l"]
["1897-45-6","Chlorothalonil","water","Salt water short-term","‐‐‐",null,"ug/l"]
["16065-83-1","Chromium(III)","water","Salt water short-term","‐‐‐",null,"ug/l"]
["18540-29-9","Chromium(VI)","water","Salt water short-term",32,null,"ug/l"]
["7782-50-5","Chlorine","water","Salt water short-term",10,null,"ug/l"]
["7440-50-8","Copper","water","Salt water short-term",null,null,"ug/l"]
["57-12-5","Cyanide","water","Salt water short-term",5,null,"ug/l"]
["52315-07-8","Cypermethrin1","water","Salt water short-term",0.4,null,"ug/l"]
["333-41-5","Diazinon","water","Salt water short-term",0.26,null,"ug/l"]
["120-83-2","2,4‐ dichlorophenol","water","Salt water short-term",6,null,"ug/l"]
["94-75-7","2,4‐ dichlorophenoxyacetic acid (2,4‐D)","water","Salt water short-term",1.3,null,"ug/l"]
["95-76-1","3,4‐ dichloroaniline","water","Salt water short-term",5.4,null,"ug/l"]
["60-51-5","Dimethoate","water","Salt water short-term",4,null,"ug/l"]
["1071-83-6","Glyphosate","water","Salt water short-term",398,null,"ug/l"]
["7439-89-6","Iron","water","Salt water short-term","‐‐‐",null,"ug/l"]
["330-55-2","Linuron","water","Salt water short-term",0.9,null,"ug/l"]
["7439-96-5","Manganese","water","Salt water short-term","‐‐‐",null,"ug/l"]
["93-65-2","Mecoprop","water","Salt water short-term",187,null,"ug/l"]
["2032-65-7","Methiocarb","water","Salt water short-term","‐‐‐",null,"ug/l"]
["40487-42-1","Pendimethalin","water","Salt water short-term","‐‐‐",null,"ug/l"]
["52645-53-1","Permethrin","water","Salt water short-term",1E-3,null,"ug/l"]
["108-95-2","Phenol","water","Salt water short-term",46,null,"ug/l"]
["25322-20-7","Tetrachloroethane","water","Salt water short-term","‐‐‐",null,"ug/l"]
["3380-34-5","Triclosan","water","Salt water short-term",0.28000000000000003,null,"ug/l"]
["108-88-3","Toluene","water","Salt water short-term",370,null,"ug/l"]
["7440-66-6","Zinc","water","Salt water short-term",null,null,"ug/l"]

{"sheet":"Sheet1","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}

{"sheet":"zRef_Drop_Downs","index":3,"n_rows":1,"n_cols":3,"rows_kept":1,"cut":false,"hidden":true,"merged":[]}
["Table","Column","Values"]

{"sheet":"MonRoundInfo","index":4,"n_rows":3,"n_cols":1,"rows_kept":3,"cut":false,"hidden":true,"merged":[]}
["Monitoring_Round"]
["Project_ID"]
["PID"]